Coude′ Auxiliary Telescope – CAT

| Optic # | Optic Notes | Procedures |
| --- | --- | --- |
| #1 | SiO overcoated aluminum Subjected to extreme moisture Up facing mirror – Protective cover | Inspect and wash monthly |
| #2 | SiO overcoated aluminum Subjected to moderate moisture Down facing mirror – Protective enclosure | Inspect every 6 months Wash as needed |
| #3 | SiO overcoated aluminum Subjected to moderate moisture Up facing primary mirror – Protective cover | Inspect monthly Co2 every other month Wash as needed |
| #4 | SiO overcoated aluminum Subjected to moderate moisture Down facing secondary mirror | Inspect every 6 months Wash as needed |
| #5 | Unsure of coating Up facing mirror – Protective cover | Inspect monthly Remove & wash as needed |